Level I FUME HOOD SHUT-DOWN PROCEDURES University of British Columbia Plant Operations

DO NOT USE THIS FUME HOOD

FOR REGULAR MAINTENANCE WORK WHERE THE EXHAUST SYSTEM IS STACKED ON THE ROOF AND SYSTEM IS INTACT Planned Shut-Down Date: Time: AM/PM

DONE (() INSTRUCTIONS Ensure all containers are tightly capped. All extremely hazardous materials, such as compressed gas cylinders, must be removed from hood. Shut down all heat sources. Contact the Radiation Protection Office at 822-7072. Monitor the hood for radioactive decontamination where radioisotopes have been used and decontaminate if necessary. Ensure that no other lab equipment or apparatus is vented into the hood during shutdown. Lower the sash and attach this completed form to the front face. Advise all personnel in the area of the planned work. If removal of the chemicals will endanger lab users, call Health, Safety and Environment at 822-2029 to develop safe work procedures.

I have prepared this good for REPAIR/MAINTENANCE as per the instructions given above. T be signed by the Hood User SIGNATURE OF FUME HOOD USER: DATE:

CAUTION!!! DO NOT REMOVE THIS TAG OR USE THIS FUME HOOD UNLESS SIGNED OFF BY THE TRADESPERSON

I have completed the REPAIR/MAINTENANCE and this fume hood may now be used. To be signed by the tradesperson. SIGNATURE OF TRADESPERSON: DATE: Blue For additional copies, please contact HS&E 822-2029