LABORATORY MONTHLY INSPECTION CHECKLIST

Supervisors may modify as needed for their areas.

Area or room #___________________________________Date:_______________________

Lab Manager / Supervisor: _____________________________________________________

- Appropriate personal protective equipment available		YES _	NO _	N/A_

- Aisles and doorways are unobstructed		YES _	NO _	N/A_

- Area free of tripping hazards		YES _	NO _	N/A_

- Area free of electrical hazards		YES _	NO _	N/A_

- Showers and eye washes accessible		YES _	NO _	N/A_

- Eyewashes inspected monthly		YES _	NO _	N/A_

- Water hoses and gas cylinders are secured 		YES _	NO _	N/A_

- Fume hoods neat and functioning 		YES _	NO _	N/A_

- Less than 25L. of solvents outside of flammable cabinet 		YES _	NO _	N/A_

- Chemicals labelled properly 		YES _	NO _	N/A_

- Chemical containers intact; labels not overwritten		YES _	NO _	N/A_

- Incompatible chemicals segregated? 		YES _	NO _	N/A_

- Highly toxic chemicals in secondary containments?		YES _	NO _	N/A_

- Proper waste disposal procedures are followed 		YES _	NO _	N/A_

- Emergency procedures posted 		YES _	NO _	N/A_

Indicate required corrective actions: